Part 1 (150`) DNA samples used for this experiment will be usually produced by extraction of different kinds of tissues followed by purification using adsorp- tion column chromatography. Because of lack of time we obstain from extrac- tion and purificaton of DNA to get pure DNA our experiment. For our experiment we use six ready prepared DNA samples which are taken from one family: father (F), mother (M), 4 children (C1-C4). The DNA is well purified and may be used immediately for PCR. 2 working groups (a = pair and b = impair) form one group which has to test the DNA samples of one family. Impair group: father and C1, C2 Pair group: mother and C3, C4 Part 2 Preparing of PCR tubes (30 `) 2.1 Put the 6 PCR tubes into the die adapter tubes and label them as following: F, M, C1, C2, C3, C4 Put the adapter-tubes containing the PCR tubes on ice for cooling. 2.3 Pipet 20 µl of DNA solution of each sample 1-6 into the cooled PCR tubes and pipet the PCR-preparations according to the following diagramm:

2.4 Mix your PCR-preparations by pipeting up and down or by snipping the tube using your finger. Nr Sample DNA Mastermix Primer 1 F 20 µl 25 µl 5 µl 2 M 20 µl 25 µl 5 µl 3 C1 20 µl 25 µl 5 µl 4 C2 20 µl 25 µl 5 µl 5 C3 20 µl 25 µl 5 µl 6 C4 20 µl 25 µl 5 µl Cool your PCR-preparations on ice until starting PCR for amplification! ( maximum 20`) Part 3 Procedure of PCR (3 h) Carry out the PCR according to the temperature program of the thermocycler! ! Pay attention on the position of your samples in the thermocycler to avoid confusion! Make sure that your tubes are correctly closed! Part 4 Evidence of PCR-products by Agarose-gelelectrophoresis ( 2 h) 4.1 According to your assignment give evidence of the PCR-products by carrying out agarose- gelelectrophoresis! 4.2. According to your assignment dye your gels and analyse them!

NCL:         Protocol   of    NCL-PCR